Request for Quotation (RFQ) for Goods

Purchase of Medical Equipment

RFQ Ref No: UNOPS-EP-2016-G-002

Version: v2016.1

Section IV: Returnable Bidding Forms

Note to Bidders: Instructions to complete each Form are highlighted in blue in each Form.  Please complete the Returnable Biding Forms as instructed and return them as part of your quotation.

The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their Quotation.

Form A: Quotation submission form

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]____________________________

Subject: Quotation for the supply of [Insert a brief description of goods/services] __________________________________in ________________________________[Name of country/city], RFQ Case No.[insert RFQ ref number]_______________________________, dated [insert date]_____________________.

We, the undersigned, declare that:

  - We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract.

  - Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in Section I: Bid Particulars, Period of Validity of Bids] _________________from the date fixed for the bid submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

  - We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS;

  - Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;

  - Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;

  - We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact

  - We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future.

  - We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] ________________________________to sign this quotation and bind [insert full name of bidder] should UNOPS accept this quotation:

Name: [complete]_______________________________________________________

Title: [complete]_________________________________________________________

Signature: _____________________________________________________________

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]________________________________________________________

Title: [complete]__________________________________________________________

Email address: [complete]____________________________________________________

Telephone: [complete]_______________________________________________________

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

RFQ reference no: [insert RFQ reference No.]

| Currency | RSD |
| --- | --- |

| Item No | Description | Qty | Unit price DAP (Insert) | Total price DAP (Insert) |
| --- | --- | --- | --- | --- |
| 1. | Holter device for ECG monitoring | 1 |  |  |
| 2. | Cardiotocograph | 1 |  |  |
| 3. | Radio-wave knife | 1 |  |  |
| Total Price |  |  |  |  |

Payment terms 30 days accepted: ☐ Yes

Bidder’s discount for accelerated payment:  ____% of total firm price for each calendar day less than thirty (30) days

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

[Full legal name and address of subcontractors]

- _________________________________________________

- _________________________________________________

- _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder] _______________________________________________ to sign this quotation and bind

__________________________________________________[insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]______________________________________

Name of Bidder: [insert name of Bidder]___________________________________________

Bidders are required to complete the Comparative Data Tables included in Section III: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

[insert table here]

| Item No | UNOPS minimum technical requirements | Quantity | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete Insert details of goods offered, including specifications and brand/model offered if applicable |
| --- | --- | --- | --- | --- |
| 1. | Holter device for ECG monitoring Continuous recording – minimum 48 hours Minimum 3 bipolar channels with 7 leads ECG analyses before start of recording. Limits for HR and ST analyses can be set up, with real time ECG ECG analyses – QRS detection and classification of HB Detection of ECG events – all types of ventricular and supraventricular disorders Tachycardia, bradycardia, atrial fibrillation, ischemic event, PM, ST I pause ST analyses HRV time domain (hourly breakdown, risk gauge, 2D, Lorenz graph 3D, Triangular index) HRV frequency domain Pacemaker: hardware detection PM spikes, PM heart bits and PM rhythm Possibility to set up parameters for automatic analyses Data transfer over USB connection Button for recording events bz the patient Data storage: SD card Power supply: replaceable or rechargeable batteries Software for manipulation and continuous analyses, compatible with Windows OS Possibility to create different user profiles with different privileges in the corresponding software. Possibility to send reports by email, directly from software Supported languages: Serbian and English 1 lead ECG cable included 50 disposable ECG electrodes included Memory card included | 1 | ☐ Yes ☐ No |  |
| 2. | Cardiotocograph 7” wide TFT color LCD display Possibility to record data on the device Fetal heart sound play and record in PC Rotating skreen Multiple language support Built- -in quide (LCD Type) Waterproof probe FHR * Dual pulsed doppler * Intesity 10mW/cm² or less * Accuracy ±2BPM * Ultrasound frequency : 0.98 ± 10% MHz * FHR range : min 30-50 and maximum 220-250 bpm FM* Auto- detection of dual fetal movement UC* External type | 1 | ☐ Yes ☐ No |  |
| 3. | Radio-wave knife Working frequency 4 MHz Maximum average output power 150 W Operations: monopolar cutting, blend cutting, monopolar coagulation; bipolar coagulation Two button footswitch and electrode handle with buttons Insulated neutral electrode which can be used without contact with the patient and can be shaped Sound and light signalization on activation of the output power Sound and light alarm for malfunction of the neutral electrode Selection of the operation mode on the front panel Output power control with relative power shown on the front panel. Electrode Handle for multiple usage (minimum 100 sterilizations) with 2 buttons with slot for extensions of 2.4mm Short extensions included : very thin needle, triangle loop electrode 7mm, triangle loop electrode 9mm, wire rhombic electrode, wire loop electrode 5mm, wire loop electrode 8mm, ball electrode 1mm, ball electrode 3mm, hex-locking blade electrode, all electrodes should be compatible with electrode handle 2.4mm and should be bendable, flexible and for multiple uses Long electrodes – min 12cm length: long needle, long ball electrode 4mm, long wire loop electrode 10mm, conization electrode 15x25mm – all electrodes should be compatible with electrode handle 2.4mm and should be bendable, flexible and for multiple uses Warranty period: 2 years for the electrosurgical unit Available spare parts and consumables by the supplier, ISO13485, ISO14001 certificates from offeror or manufacturer | 1 | ☐ Yes ☐ No |  |

Delivery requirements –– Comparative Data Table

[insert table here]

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete Insert details |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods within 30 (Thirty) calendar days after Contract signature. | ☐ Yes ☐ No |  |
| Delivery place and Incoterms rules | DAP (Delivery at Place), offload included, as per Incoterms 2010, net of any direct taxes, customs duties and indirect taxes and VAT. | ☐ Yes ☐ No |  |
| Consignee details | The exact address the goods should be delivered and offloaded to, as well as all other relevant details, will be available upon contract signature. | ☐ Yes ☐ No |  |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 100%, without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No |  |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section III: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form D: Previous experience form

RFQ reference no: [insert RFQ reference No.]_________________________________

Name of Bidder: [insert name of Bidder]______________________________________

| Description of services/goods | Country | Total amount of Contract | Contract Identification and Title and Contact details of Client: (Name, Address, telephone, email, fax) | Year project was undertaken |
| --- | --- | --- | --- | --- |

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________75 00ax: +45 45 33 75 01