Version: v2016.1

RETURNABLE BIDDING FORMS

Purchase of restaurant and cooling equipment, in support of women entrepreneurship

RFQ Ref No: UNOPS-EP-2016-G-024

Section III: Schedule of Requirements

List of goods & quantities:

| Item No | List of goods | Quantity |
| --- | --- | --- |
| LOT 1 |  |  |
| 1. | Blast Chiller Shock Freezer | 1 |
| LOT 2 |  |  |
| 1. | Cold storage for freezing and maintaining temperature below zero - 21°c | 1 |
| LOT 3 |  |  |
| 1. | Line Cash Register Desk | 1 |
| 2. | Line Hot Water Bath | 1 |
| 3. | Line Cold Table with a Refrigerated Display for Desset | 1 |
| 4. | Neutral Desk with Glass Superstructure for Clean Plates | 1 |
| 5. | Line neutral desk for trays, cutlery and bread | 1 |
| 6. | Serving Cart | 1 |

NOTE: The offered equipment must comply with requirements laid down in the Technical specifications (Form C: Technical Quotation Form - Technical specifications for goods – Comparative Data Table).

The required specifications present minimum requirements. Bidders may offer items with more advanced specs and such offers are accepted as appropriate.

Manufacturer's technical literature submitted with the offer must comply with the written specifications of the Bidder. In the event that there are differences between the submitted manufacturers’ literature and written Bidder specification reasons for that must be explained in the Bidder specifications. Manufacturer's technical literature (brochures, booklets, instructions, etc.) should be submitted. The manufacturers’ technical literature should be marked in an appropriate manner (i.e. model number).

Bidder warrants that offered equipment is new and unused. Bidder shall further warrant that none of the supplies have any defect arising from design, materials or workmanship.

Where applicable, items must be in compliance with the Law on health safety of products for general use Republic of Serbia. All equipment must be in compliance with HACCP food industry standards.

The Contractor will be responsible for providing after sales support through the standard manufacturer’s warranty, which can not be less than one year.

Regarding the Lot 2, the supplier shall be required to fix any malfunction within 6h of reporting said malfunction, as the cold storage facility holds perishable goods that can not withhold a longer period of time without refrigeration.

Section IV: Returnable Bidding Forms

Note to Bidders: Instructions to complete each Form are highlighted in blue in each Form.  Please complete the Returnable Biding Forms as instructed and return them as part of your quotation.

The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their Quotation.

Form A: Quotation submission form

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]____________________________

Subject: Quotation for the supply of [Insert a brief description of goods/services] __________________________________in ________________________________[Name of country/city], RFQ Case No.[insert RFQ ref number]_______________________________, dated [insert date]_____________________.

We, the undersigned, declare that:

  - We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract.

  - Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in Section I: Bid Particulars, Period of Validity of Bids] _________________from the date fixed for the bid submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

  - We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS;

  - Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;

  - Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;

  - We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact

  - We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future.

  - We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] ________________________________to sign this quotation and bind [insert full name of bidder] should UNOPS accept this quotation:

Name: [complete]_______________________________________________________

Title: [complete]_________________________________________________________

Signature: _____________________________________________________________

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]________________________________________________________

Title: [complete]__________________________________________________________

Email address: [complete]___________________________________________________

Telephone: [complete]______________________________________________________

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

RFQ reference no: [insert RFQ reference No.]

| Currency | RSD |
| --- | --- |

| Item No | Description | Qty | Unit price DAP (Insert) | Total price DAP (Insert) |
| --- | --- | --- | --- | --- |
| LOT 1 |  |  |  |  |
| 1. | Blast Chiller Shock Freezer | 1 |  |  |
| TOTAL LOT 1 |  |  |  |  |

| Item No | Description | Qty | Unit price DAP (Insert) | Total price DAP (Insert) |
| --- | --- | --- | --- | --- |
| LOT 2 |  |  |  |  |
| 1. | Cold storage for freezing and maintaining temperature below zero - 21°c | 1 |  |  |
| TOTAL LOT 1 |  |  |  |  |

| Item No | Description | Qty | Unit price DAP (Insert) | Total price DAP (Insert) |
| --- | --- | --- | --- | --- |
| LOT 3 |  |  |  |  |
| 1. | Line Cash Register Desk | 1 |  |  |
| 2. | Line Hot Water Bath | 1 |  |  |
| 3. | Line Cold Table with a Refrigerated Display for Desset | 1 |  |  |
| 4. | Neutral Desk with Glass Superstructure for Clean Plates | 1 |  |  |
| 5. | Line neutral desk for trays, cutlery and bread | 1 |  |  |
| 6. | Serving Cart | 1 |  |  |
| TOTAL LOT 3 |  |  |  |  |

Payment terms 30 days accepted: ☐ Yes

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

[Full legal name and address of subcontractors]

- _________________________________________________

- _________________________________________________

- _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder]

____________________________________________________ to sign this quotation and bind

____________________________________________________[insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]______________________________________

Name of Bidder: [insert name of Bidder]___________________________________________

Bidders are required to complete the Comparative Data Tables included in Section III: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

| Item No | Description | Qty | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete Insert details of goods offered, including specifications and brand/model offered if applicable |
| --- | --- | --- | --- | --- |
| LOT 1 |  |  |  |  |
| 1. | Blast Chiller Shock Freezer Capacity: minimum 10 GN1/1 dish or 10 600x400mm trays Temperatures between -30 and -40 C Freezing time 25 - 35 minutes Gas: R404A ili R507 Power (W): 1600W minimum Voltage: 230V/1N/50Hz Inside and outside made of stainless steel with rounded corners. Insulated with CFC free poliurethane injected under high pressure. Insulation thickness not less than 60 mm. | 1 | ☐ Yes ☐ No |  |
| LOT 2 |  |  |  |  |
| 1. | Cold storage for freezing and maintaining temperature below zero - 21°c Dimensions of the room where the cold storage facility will be built: 8.6 x 4.3 x 3.15m Room volume: 116.48 m3 Cold Storage volume: ≈ 86 m3 Cold storage thermal insulation Dim: 8.3 x 4 x 2.8m (- 22°C to -25 °C) Thermal insulation of the walls and ceiling of the chamber shall consist of the following components: -Poliurethane panel: - coated with galvanized and plasticized sheet metal - panel thickness d= 16.5mm - poliurethane fill density 40kg/m-3 - total quantity p=108m-2 Thermal insulation door Standard pivot door, - steel, galvanized and plasticized - clear span dimensions 120x200cm - d=100mm thick minus with heater Refrigeration system Refrigeration systems containing the following components at the temperature range between - 22°C and - 25 °C - Compressor 3KW (electric powered)-pcs-2 - Condenser (pcs -4 ) - Evaporator (pcs -2) - Receiver 7L (pcs-2) - Flow Meter ø10 (pcs-2) - Filter (pcs-2) - El.magn.valve ø 10 (pcs-2) - Pressure Switches KP15 (pcs-2) - Pressure Switches KP5 (pcs-2) - Themal Expansion Valve with Nozzle d-3 (pcs-2) - Chassis (pcs-2) - Refrigerating Fluid (kgr-20) Command cabinet complete with microprocessor; temperature regulation and indication (pcs-1) The supplier shall be required to fix any malfunction within 6h of reporting said malfunction, as the cold storage facility holds perishable goods that can not withhold a longer period of time without refrigeration. | 1 | ☐ Yes ☐ No |  |
| LOT 3 |  |  |  |  |
| 1. | Line Cash Register Desk 1500x800x900mm Complete with drawer and lock. Completely made of INOX stainless steel. Inox countertop with rounded edges, minimum 70mm; with adjustable strips; one sided finish. Three 40mm diameter pipe sliding ramp. Inox front with option of mounting a substructure for the investor's mask. | 1 | ☐ Yes ☐ No |  |
| 2. | Line Hot Water Bath Dimensions maximum 3.5 m in three-part segments. With automated water filling. With fan to cool heaters. Two-level glass superstructure, backlit and closed off to clients with a glass partition. Dishes displaying cooked meals - 9 pieces. Inox countertop with rounded edges, minimum 70mm; with adjustable strips on the front and back sides. Hot cabinet with fan heating: digital thermometer; double doors. Operating temperature 90°C. Three 40mm diameter pipe sliding ramp. Inox front with option of mounting a substructure for the investor's mask. Completely made of Inox stainless steel. | 1 | ☐ Yes ☐ No |  |
| 3. | Line Cold Table with a Refrigerated Display for Dessert Display dimensions up to 1.2m With cabinet for cake storage. Separate refrigeration regime for the display and cabinet with fanned refrigeration in temperatures between 0 and +4°C. Digital temperature setting and regulation. Inner side closed off with glass doors. Inox countertop with rounded edges, minimum 70mm; Inox adjustable legs; strips (skirting) from the front and back. There are 3 times 2 plexiglass doors on the front side the refrigerated display has and a tempered glass sliding door from the back. Three 40mm diameter pipe sliding ramp, Inox front with option of mounting a substructure for the investor's mask. | 1 | ☐ Yes ☐ No |  |
| 4. | Neutral Desk with Glass Superstructure for Clean Plates Display dimensions 1.2m maximum Neutral cabinet with doors for clean plates. Glass superstructure with glass screens on the front and sides, complete with lighting. Completely made of Inox. Inox countertop with rounded edges, minimum 70mm; Inox adjustable legs; strips (skirting) from the front and back. Three 40mm diameter pipe sliding ramp. Inox front with option of mounting a substructure for the investor's mask. | 1 | ☐ Yes ☐ No |  |
| 5. | Line neutral desk for trays, cutlery and bread Dimensions of this neutral table 1.2m maximum With superstructure for cutlery. Shelves for cutlery accessible from the rear of the cabinet. Completely made of Inox. A2 Countertop made of Inox not less than 15/10mm thick; 70mm tall for Inox adjustable legs, inox strips on the bottom side of the front and back. One sided finish. CUTLERY SUPERSTRUCTURE: on a structure of Inox polished pipes; placed on the neitral element in line with the superstructure line shelving unit. Three 40mm diameter pipe sliding ramp. Inox front with option of mounting a substructure for the investor's mask. | 1 | ☐ Yes ☐ No |  |
| 6. | Serving Cart Dimensions 2m x 0,8m x 0,6 with standard tray spacing. Cart with shelves and adequate wheels for disposal of used trays to be washed. | 1 | ☐ Yes ☐ No |  |

Delivery requirements –– Comparative Data Table

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete Insert details |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods 45 (Forty Five) calendar days after Contract signature. | ☐ Yes ☐ No |  |
| Delivery place and Incoterms rules | Net of any direct taxes, customs duties and indirect taxes and VAT. DAP (Delivered at Place) as per Incoterms 2010: LOT 1: Sjenica LOT 2: Vranje LOT 3: Novi Pazar Delivery, offload, assembly and installation of the equipment on the beneficiaries’ premises are included in the price. | ☐ Yes ☐ No |  |
| Consignee details | The exact address the goods should be delivered at and offloaded to, as well as all other relevant details, will be available upon contract signature. | ☐ Yes ☐ No |  |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 20%, without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No |  |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section III: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form D: Previous experience form

RFQ reference no: [insert RFQ reference No.]  ______________________________________

Name of Bidder: [insert name of Bidder]            ______________________________________

| Description of services/goods | Country | Total amount of Contract | Contract Identification and Title and Contact details of Client: (Name, Address, telephone, email, fax) | Year project was undertaken |
| --- | --- | --- | --- | --- |

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________75 00ax: +45 45 33 75 01