Returnable Bidding Forms

Purchase of Cooling and Neutral Equipment in support to Youth and MSEs

RFQ Ref No: UNOPS-EP-2016-G-075

Version: v2016.1

Section IV: Returnable Bidding Forms

Note to Bidders: Instructions to complete each Form are highlighted in blue in each Form.  Please complete the Returnable Biding Forms as instructed and return them as part of your quotation.

The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their Quotation.

Form A: Quotation submission form

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]____________________________

Subject: Quotation for the supply of [Insert a brief description of goods/services] __________________________________in ________________________________[Name of country/city], RFQ Case No.[insert RFQ ref number]_______________________________, dated [insert date]_____________________.

We, the undersigned, declare that:

  - We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract.

  - Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in Section I: Bid Particulars, Period of Validity of Bids] _________________from the date fixed for the bid submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

  - We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS;

  - Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;

  - Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;

  - We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact

  - We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future.

  - We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] ________________________________to sign this quotation and bind [insert full name of bidder] should UNOPS accept this quotation:

Name: [complete]_______________________________________________________

Title: [complete]_________________________________________________________

Signature: _____________________________________________________________

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]________________________________________________________

Title: [complete]__________________________________________________________

Email address: [complete]____________________________________________________

Telephone: [complete]_______________________________________________________

Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

RFQ reference no: [insert RFQ reference No.]

| Currency | RSD |
| --- | --- |

| Item No | Description | Qty | Unit price DAP (Insert) | Total price DAP (Insert) |
| --- | --- | --- | --- | --- |
| 1. | Refrigerating showcase for cakes | 1 |  |  |
| 2. | Showcase for ice cream | 1 |  |  |
| 3. | Refrigerated chamber in positive mode -1 | 1 |  |  |
| 4. | Refrigerated chamber in positive mode -2 | 1 |  |  |
| 5. | Refrigerated chamber in positive mode -3 | 1 |  |  |
| 6. | Cold table | 2 |  |  |
| 7. | Open work table 1 | 1 |  |  |
| 8. | Double sink | 1 |  |  |
| 9. | Open work table 2 | 1 |  |  |
| Total Price |  |  |  |  |

Payment terms 30 days accepted: ☐ Yes

Bidder’s discount for accelerated payment:  ____% of total firm price for each calendar day less than thirty (30) days

- List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

[Full legal name and address of subcontractors]

- _________________________________________________

- _________________________________________________

- _________________________________________________

- List of legal entities associated to the Bidder

Bidder must also identify and disclose any information regarding all legal entity/s associated to it, by providing their full legal name and address:

[Full legal name and address of the associated legal entity]

- _________________________________________________

- _________________________________________________

- _________________________________________________

In case of no related entities, the Bidder must sign the following statement to that effect:

[Delete or cross out if not applicable]:

I, the undersigned, certify that there are no legal entities associated to the [insert full name of Bidder]

____________________________________________________. [

- Authorization to sign quotation

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder]

____________________________________________________ to sign this quotation and bind

____________________________________________________[insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]______________________________________

Name of Bidder: [insert name of Bidder]___________________________________________

Bidders are required to complete the Comparative Data Tables included in Section III: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

[insert table here]

| Item No | UNOPS minimum technical requirements | Quantity | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete Insert details of goods offered, including specifications and brand/model offered if applicable |
| --- | --- | --- | --- | --- |
| 1 | Refrigerating showcase for cakes Horizontal showcase with min 3 glass shelves (the same cooling temperature at all levels), with sliding doors to the operator LED light Cooling mode+ 3 / + 10 C Ventilation cooling Humidity of 70-750% Automatic defrost Power min 900W External dimensions (mm): 1800 x720-750 x 1370-1380 H Rashladna vitrina za kolače Horizontalna vitrina sa minimum 3 police (ista temperatura hladenja na svim nivoima) sa kliznim vratima prema operateru LED svetlo Reżim hladenja +3/+10 C Vlażnost 70-75% Automatsko otapanje Ventilisano hladenje Snaga minimum 900W Spoljne dimenzije(mm):1800 x720-750 x1370-1380 H Equal or similar with model KARINA 136 (picture below): Jednako ili slično modelu KARINA 136 (slika ispod) | 1 | ☐ Yes ☐ No |  |
| 2 | Showcase for ice cream 2x6 kibbles External dimensions 1160x1150x1300(H) mm Open front part Glass semicircular with shock absorbers Neon lights Anti-spraying glass Dynamic cooling Automatic defrost Electronic thermostat Digital temperature display Vitrina za sladoled 2x6 kibli Spoljna dimenzija 1160x1150x1300(V) mm Otvoreni prednji deo Staklo polukruzno sa amortizerima Neonsko osvetljenje Sistem protiv orosavanja stakla Dinamicko hladjenje Automatsko otapanje Elektronski termostat Digitalni prikaz temperature Equal or similar with model BISCOTTI LMO 3BT (picture below): Jednako ili slično modelu BISCOTTI LMO 3BT (slika ispod) | 1 | ☐ Yes ☐ No |  |
| 3 | Refrigerated chamber in positive mode - 1 Purpose: storage of cakes Delivery and installation of refrigerated positive (+2/+10 C) chamber with rotating thermo-insulated door (min 800x1900mm) Quiet mode / quiet cooling. Dimensions: 2 x 3x 2,5m (W x L x H) with approximately 15 m3 workplace Made of the thermal-insulation panels (min 60mm) with built-in condenser and evaporator. Interior shelves are adjustable in height Installation of sanitary strips inside the chamber Automatic work control Lighting Rashladna komora u plusnom rezimu rada - 1 Namena: za skladištenje kolača i torti lsporuka i ugradnja rashladne komore u plusnom (+2C/+10C ) režimu rada sa okretnim/ krilnim termo izolovanim vratima (min 800x1900mm). Mirni režim rada/mirno hlađenje. Dimenzije 2x3x2,5 m (ŠxDxV) sa približno 15m3 korisnog prostora. Sagrađene su od termo izolovanih panelnih ploča (min 60mm), sa ugrađenim kondezatorom i isparivačem. Ugrađena rasveta Unutrašnje police podesive po visini Automatsko kontrolisanje režima rada Ugradnja sanitarnih lajsni unutar komora Equal or similar with picture below: Jednako ili slično crtežu ispod: | 1 | ☐ Yes ☐ No |  |
| 4 | Refrigerated chamber in positive mode -2 External dimensions: 5x2.5 x 2,2m Polyurethane thermal insulation panels (60mm min) With thermal movable door (min 800x1900mm, hinges on the right side, the door is positioned on the left side of chamber) Temperature mode in the chamber 0 /+ 2C Purpose: storage for mushrooms Refrigeration chamber - a refrigeration system with electric command box through which performs automatic control mode in the chamber. Generator with compressor Condenser with the receiver on the same pedestal Solenoid valve Thermo expansion valve Pressure switch for high and low pressure regulation of condenser Fan drier gas, transparently glass, oil separator, evaporator Freon pipe installation, insulation of the suction piping, condensate drain Electrical installation to connect the system components with a microprocessor controller that allows automatic management of the operation of the cold. Evacuation and filling of refrigeration system refrigerant R404A Adjustable operating parameters Rashladna komora u plusnom režimu rada - 2 Isporuka i ugradnja Spoljasnje dimenzijekomore: 5x2.5 x 2,2m Termoizolovani poliuretanski paneli (60mm min) Sa termoizolovanim okretnim vratima (min 800x1900mm, šarke sa desne strane, vrata pozicionirana na levoj strani) Temperaturni režim u komori PLUSNI 0/+2 C. Namena: za skladištenje pečuraka Rashladna komora - jedno rashladno postrojenje, sa elektro komandnim ormanom preko koga se vrši automatsko kontrolisanje režima rada u komori. Rashladni agregat sa kompresorom Kondenzator sa resiverom na zajedničkom postolju Elektromagnetni ventil Termoekspanzioni ventil Presostat za visoki i niski pritisak i regulaciju rada ventilatora kondenzatora sušač gasa, gledno staklo, odvajač za ulje, isparivač Freonska cevna instalacija, izolacija usisnog cevovoda, odvod kondenzata Elektroinstalacija za povezivanje komponenti sistema sa mikroprocesorskim kontrolerom koji omogućava automatsko upravljanje radom rashladne komore. Vakumiranje i punjenje rashladne instalacije rashladnim sredstvom R404A sa podešavanjem parametara rada The same or similar with picture below: Jednako ili slicno crtezu ispod: | 1 | ☐ Yes ☐ No |  |
| 5 | Refrigerated chamber in positive mode -3 Delivery and installation External dimensions: 9x5x2,5(H) m; V ~ 112 m3, + 0 / 1C COOLING INSTALATION for the chamber of V = 112 m3, semi-hermetic scroll compressor, the cooling capacity Qo = 13 to 360W in / tk = -8 / + 40 ° C with R404A, with heating oil, with condenser fans, and automatic in stainless sheet AIR COOLER (2 pieces) composed of copper aluminium block, formwork and bathtubs for receiving condensate, electro heater, axial fans, and the following characteristics: Air temperature 0 C Evaporation temperature 8 C Cooling capacity 8,8 KW Air flow 5.5 m3 / h Fan2 x f350mm: 7m range, lamella 8mm step, the surface of 38m2. TERMOEXPANSION VALVE R404A with a nozzle (2 pieces) PIPING OF COOPER PIPES complete with fitting (pipe diameters 6-42mm) THERMAL PIPES corresponding diameter CABLE DISTRIBUTION (cables, clamps, racks) FREON R-404A refrigerant charging system DRAIN (complete) THERMOSTAT with two probes CABLE 5x16 POLYURETHANE THERMAL INSULATION PANELS for walls and ceiling, on both sides lined hot galvanized (thickness 200g / m2), plasticized (thickness 25 microns), steel sheet thickness of 0.50 mm, 16mm isolation thick SANITARY PVC STRIP according to standard HACCAP SLIDING DOORS (2 pieces) are made of fibreglass light opening dimensions 1500x2200 mm, thickness 90 mm filled polyurethane expanded foam with lock and key DOUBLE SCISSOR LIFTING UP PLATFORM 1500mmx width 2000mm load capacity 2000kg, lifting height from 200-1200mm Rashladna komora u plusnom rezimu rada - 3 Isporuka i ugradnja Spoljašnje dimenzije: 9x5x2,5(H) m ;V~112 m3, +0/1C RASHLADNA INSTALACIJA za komoru od V=112 m3, poluhermetički scroll kompresor , rashladnog kapaciteta od Qo=13 360W pri to/tk= -8/+40°C, sa R 404A, sa grejačem ulja, kompletan agregat sa kondezatorom, ventilatorima, i automatikom u kucistu od nerdjajuceg lima HLADNJAK VAZDUHA (2 komada) sastavljen od bakar­ aluminijum izmenjivačkog bloka, oplate i kade za prihvat kondenzata, elektro grejača, aksijalnih ventilatora, sledecih karakteristika: Temperatura vazduha 0 C Temperatura isparavanja 8 C Rashladni kapacitet 8,8 KW Protok vazduha 5,5 m3/h Ventilator 2 x f350mm:domet 7m, korak lamela 8mm, površina 38m2. TERMOEXPAZIONI VENTIL R 404A sa diznom (2 komada) CEVNI RAZVOD od bakarnih cevi komplet sa fitingom (cevi prečnika 6-42mm) TERMOIZOLACIJA CEVI odgovarajućeg prečnika KABLOVSKI RAZVOD (kablovi, obujmice, regali) FREON R-404A za punjenje rashladnog sistema ODVOD VODE (komplet) TERMOSTAT sa dve sonde NAPOJNI KABAL 5x16 TERMOIZOLACIONI POLIURETANSKI PANEL za zidove i plafon, sa obe strane obložen toplopocinkovanim (debljine 200gr/m2), plastificiranim (debljina 25 mikrona), čelicnim limom debljine 0,50 mm, debljine izolacijie 16mm SANITARNA PVC LAJSNA po standardu HACCAP KLIZNA HLADIONIČKA VRATA (2 komada) izrađena od FIBERGLASA dimenzija svetlog otvora 1500x2200 mm, debljine 90 mm PLUSNA ispunjena ekspandiranom poliuretnaskom penom sa bravom sa ključem DUPLI MAKAZASTI PODIZNI STO širine 1500mmx 2000mm nosivost 2000kg,visina podizanja od 200-1200mm | 1 | ☐ Yes ☐ No |  |
| 6 | Cold table Dimensions: 2000 x 700 x 850mm Without any fold on back and lateral side Box doors full Minimum one shelf in boxes Operating temperature: +2 / +8oC Inox Hladni sto Dimenzije: 2000 x 700 x 850mm Bez falca na ledjima i na bočnim stranama Radna temperatura: +2 / +8oC Minimum po jedna polica u boksovima Vrata boksova puna Materijal izrade: Inox The similar with picture below: Jednako ili slicno crtezu ispod: | 2 | ☐ Yes ☐ No |  |
| 7 | Open work table 1 Dimensions: 2800-2900 x 700 x 850mm With bottom shelf Without any fold on back and lateral side AISI Type 304 Stainless Steel Radni sto (otvoreni) 1 Dimenzije: 2800-2900 x 700 x 850mm Sa donjom policom Bez falca na ledjima i na bočnim stranama Materijal izrade: nerđajući čelik AISI 304 The same or similar with picture below: Jednako ili slično crtežu | 1 | ☐ Yes ☐ No |  |
| 8 | Double sink 1200x700x850mm Baskets dimensions: minimum 400x400mm Baskets depth: 250 - 300mm With bottom shelf Fold on back side AISI Type 304 Stainless Steel Dupla sudopera Dimenzije 1200x700x850mm Dimenzije korita: minimalno 400x400mm Dubina korita: 250 - 300mm Donja polica Falc na leđima Materijal izrade: nerđajući čelik AISI 304 The same or similar with picture below: Jednako ili slično crtežu ispod: | 1 | ☐ Yes ☐ No |  |
| 9 | Open work table 2 Dimensions: 1000 x 700 x 850mm With bottom shelf Fold on back side AISI Type 304 Stainless Steel Radni sto (otvoreni) 2 Dimenzije: 1000 x 700 x 850mm Sadrži donju policu i falc sa zadnje strane Materijal izrade: nerđajući čelik AISI 304 The same or similar with picture below: Jednako ili slično crtežu | 1 | ☐ Yes ☐ No |  |

Delivery requirements –– Comparative Data Table

[insert table here]

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete Insert details |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods within 30 (thirty) calendar days after Contract signature. | ☐ Yes ☐ No |  |
| Delivery place and Incoterms rules | DAP (Delivery at Place), offload included, as per Incoterms 2010, net of any direct taxes, customs duties and indirect taxes and VAT. Beneficiaries are in Raska, Vranje, Surdulica, Prokuplje, | ☐ Yes ☐ No |  |
| Consignee details | The exact address the goods should be delivered and offloaded to, as well as all other relevant details, will be available upon contract signature. | ☐ Yes ☐ No |  |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 100%, without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No |  |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section III: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form D: Previous experience form

RFQ reference no: [insert RFQ reference No.]_________________________________

Name of Bidder: [insert name of Bidder]______________________________________

| Description of services/goods | Country | Total amount of Contract | Contract Identification and Title and Contact details of Client: (Name, Address, telephone, email, fax) | Year project was undertaken |
| --- | --- | --- | --- | --- |

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________75 00ax: +45 45 33 75 01