Version: v2016.1

RETURNABLE BIDDING FORMS Request for Quotation (RFQ) for Goods

Procurement OF A DIGITAL ULTRASOUND for KIEV HOSPITAL

RFQ Ref No: UNOPS-UCC-2016-G-005

Section IV: Returnable Bidding Forms

Note to Bidders: Instructions to complete each Form are highlighted in blue in each Form.  Please complete the Returnable Biding Forms as instructed and return them as part of your quotation.

The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their Quotation.

Form A: Quotation submission form

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]____________________________

Subject: Quotation for the supply of [Insert a brief description of goods/services] __________________________________in ________________________________[Name of country/city], RFQ Case No.[insert RFQ ref number]_______________________________, dated [insert date]_____________________.

We, the undersigned, declare that:

  - We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract.

  - Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in Section I: Bid Particulars, Period of Validity of Bids] _________________from the date fixed for the bid submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

  - We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS;

  - Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;

  - Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;

  - We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact

  - We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future.

  - We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] ________________________________to sign this quotation and bind [insert full name of bidder] should UNOPS accept this quotation:

Name: [complete]_______________________________________________________

Title: [complete]_________________________________________________________

Signature: _____________________________________________________________

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]________________________________________________________________________

Title: [complete]__________________________________________________________________________

Mailing Address & Email address: [complete]___________________________________________________

Telephone: [complete]_____________________________________________________________________

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

RFQ reference no: [insert RFQ reference No.]

| Currency | USD |
| --- | --- |

| Item No |  | Description | Qty | Unit price DAP (Insert) | Total price DAP (Insert) |
| --- | --- | --- | --- | --- | --- |
| 1. | STATIONARY FULLY DIGITAL ULTRASOUND DIAGNOSTIC DEVICE OF EXPERT CLASS WITH SUPPORT OF COLORED AND SPECTRAL DOPPLER MODES |  | 1 |  |  |
| TOTAL |  |  |  |  |  |

Payment terms 30 days accepted: ☐ Yes

- List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

[Full legal name and address of subcontractors]

- _________________________________________________

- _________________________________________________

- _________________________________________________

- List of legal entities associated to the Bidder

Bidder must also identify and disclose any information regarding all legal entity/s associated to it, by providing their full legal name and address:

[Full legal name and address of the associated legal entity]

- _________________________________________________

- _________________________________________________

- _________________________________________________

In the event of no related entities, the Bidder must sign the following statement to that effect:

[Delete or cross out if not applicable]:

I, the undersigned, certify that there are no legal entities associated to the [insert full name of Bidder]

____________________________________________________. [

- Authorization to sign quotation

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder]

____________________________________________________ to sign this quotation and bind

____________________________________________________[insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]______________________________________

Name of Bidder: [insert name of Bidder]___________________________________________

Bidders are required to complete the Comparative Data Tables included in Section III: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

| Item No | UNOPS minimum technical requirements | QTY | Is Bid compli-ant? Bidder to complete | Details of goods offered. Bidder to complete |
| --- | --- | --- | --- | --- |
| 1. | STATIONARY FULLY DIGITAL ULTRASOUND DIAGNOSTIC DEVICE OF EXPERT CLASS WITH SUPPORT OF COLORED AND SPECTRAL DOPPLER MODES | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
|  | Technical descriptions; Requirements. Expert class Ultrasound diagnostics system used for general research; Yes. В mode; Yes. М mode; Yes. Pulse-wave Doppler; Yes. HPRF PWD; Yes. Continuous-wave Doppler; Yes. Color Doppler; Yes. Power Doppler; Yes. Tissue Doppler Imaging; Yes. Option for Elastography; Yes. Option for Panoramic view; Yes. Trapezoid scanning for linear probs; Yes. Image enhancement mode for deep scanning; Yes. Tissue harmonic mode; Yes. Option for Differential THI; Yes. Option for 3D/4D visualization in real time; Yes. Option for 3D/4D supporting color mods (PD, CD, Color Doppler mode; Yes. Option for 4D STIC Imaging; Yes. Option for ECG; Yes. Option for Specialized cardiac evaluation hearts; Yes. Option for Convex probs; Yes. Option for Linear probs; Yes. Option for Linear high freqency; Yes. Option for 4D Convex prob; Yes. Option for 4D Linear probs; Yes. Option for 4D endocavity prob; Yes. Option for Micro Convex prob; Yes. Option for Sector/Phased array probs (adult, pediatric); Yes. Option for endocavity probs; Yes. Processing unit "raw data"; Yes. Digital beam forming in reception and in transmission; Yes. Physical Number of elements of reception and transmission; Not less than 190. The dynamic range of the system; Not less than 200 dB. Multi frequency scanning for all types of sensors; Yes. Continuous progressive dynamic focus; Yes. Zoom range adjustable with indication of the location of the zoom range on the reference image; Yes. Scan depth max; Not less than 36(±4) cm. Active ports for sensors; Not less than 4. The integrated workstation; Yes. Hard drive capacity; Not less than 320 GB. CD/DVD drive; Yes. USB flesh drive; Yes. The system is open to the updated versions of software and modules; Yes. TFT color monitor; Yes. Screen diagonal; Not less than 19”. Adjusting the monitor height, rotation, tilt up / down; Yes. Matrix display, pixels; Not less than 1280x1024. TFT color touch screen command, not less than; 8”. The command touch panel; Yes. Increasing the image in real time and static mode; Yes. Simultaneous display on structures studied in B mode and Color Doppler, in real time; Yes. Maximum frame rate in B-mode; Not less than 480(+/-20). Number gray scale cards (B-mode); Not less than 20. Record of clip by frame; Not less than 4000 (+/-100). Archiving to a hard disk clip and static images; Yes. Archiving to a CD-R(RW)/DVD-R (RW) discs; Yes. Backup to USB flash drive; Yes. Formats static and dynamic images: JPEG, BMP, AVI; Yes. Ability to connect to the network via EТHERNET; Yes. Option for Support for DICOM 3.0; Yes. Software packages for measurements and calculations for all types of research; Yes. Drafting and editing reports for the current study directly in the system; Yes. Ability to create individual user templates when reporting directly to the system; Yes. Printing and data export in PDF format; Yes. Autotrace Doppler spectrum in real-time with automatically measurement of blood flow parameters; Yes. Convex Transducer; Yes. Number of elements; Not less than 128. Range frequency, MHz; from 1,5(+/-0,5) till 6,5 (+/-0,5). Multi frequency transducer; Yes. Angle scanning; Not less than 65°. The minimum depth scanning; Not less than 2 cm. The maximum depth scanning; Not less than 26 cm. Linear Transducer; Yes. Number of elements; Not less than 128. Range frequency, MHz; From 6,5(+/-0,5) till 13 (+/-0,5). Multi frequency transducer; Yes. Scanning Width; Not less than 50mm (±1). The minimum depth scanning; Not less than 1cm. The maximum depth scanning; Not less than 8 cm. Endocavity Transducer; Yes. Number of elements; Not less than 128. Range frequency, MHz; from 3,5(+/-0,5) till 9,5 (+/-0,5). Multi frequency transducer; Yes. Angle scanning; Not less than 145°. Sector transducer; Yes. Number of elements; Not less than 64. Range frequency, MHz; from 1,5(+/-0,5) till 4,5 (+/-0,5). Multi frequency transducer; Yes. Angle scanning; Not less than 65°. The minimum depth scanning; Not less than 1cm. The maximum depth scanning; Not less than 24cm. B/W printer; Yes. UPS unit 1,5 kV/А; Yes. Usermanual Russian or Ukrainian language; Yes. |  |  |  |

Delivery requirements –– Comparative Data Table

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete Insert details |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods not more than 45 (Forty Five) calendar days after the Contract signature. | ☐ Yes ☐ No |  |
| Delivery place and Incoterms rules | DAP (Delivered at Place, as per Incoterms 2010): Central Clinical Hospital of the State Border Service of Ukraine, Kyiv, Yahidna 58 Net of any direct taxes, customs duties, indirect taxes and VAT. Transportation, offload, assembly and installation of the equipment on the beneficiary’s premises are included in the price. Supplier to cover the costs of custom clearance agency, if needed. | ☐ Yes ☐ No |  |
| Consignee details | The exact address the goods shall be delivered and offloaded to, as well as all other relevant details, will be available upon contract signature. | ☐ Yes ☐ No |  |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 20%, without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No |  |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section III: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form D: Previous experience form

RFQ reference no: [insert RFQ reference No.]  ______________________________________

Name of Bidder: [insert name of Bidder]            ______________________________________

| Description of services/goods | Country | Total amount of Contract | Contract Identification and Title and Contact details of Client: (Name, Address, telephone, email, fax) | Year project was undertaken |
| --- | --- | --- | --- | --- |

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature  : _____________________________________________________________7: +45 4