Section IV: Returnable Bidding Forms

Note to Bidders: Instructions to complete each Form are highlighted in blue in each Form.  Please complete the Returnable Biding Forms as instructed and return them as part of your quotation.

The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their Quotation.

Form A: Quotation submission form

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]____________________________

Subject: Quotation for the supply of [Insert a brief description of goods/services] __________________________________in ________________________________[Name of country/city], RFQ Case No.[insert RFQ ref number]_______________________________, dated [insert date]_____________________.

We, the undersigned, declare that:

  - We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract.

  - Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in Section I: Bid Particulars, Period of Validity of Bids] _________________from the date fixed for the bid submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

  - We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS;

  - Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;

  - Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;

  - We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact

  - We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future.

  - We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] ________________________________to sign this quotation and bind [insert full name of bidder] should UNOPS accept this quotation:

Name: [complete]_______________________________________________________

Title: [complete]_________________________________________________________

Signature: _____________________________________________________________

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]________________________________________________________

Title: [complete]__________________________________________________________

Email address: [complete]____________________________________________________

Telephone: [complete]_______________________________________________________

Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

RFQ reference no: [insert RFQ reference No.]

| Currency | RSD |
| --- | --- |

| Item No | Description of Goods | Quantity | Unit price DAP RSD | Total price DAP RSD |
| --- | --- | --- | --- | --- |
| 1. | Air conditioner service unit for R134a | 2 |  |  |
| 2. | UV lamp for leak detection | 2 |  |  |
| 3. | UV glasses for leak detection | 2 |  |  |
| 4. | Refrigerant R134 a - Disposable Cylinder 13.6 kg | 12 |  |  |
| 5. | Compressor Polyalkylene Glycol Oil- PAG 100 for A/C unit (ISO 100) or compatible- bottle 240- 250 ml | 36 |  |  |
| 6. | Universal UV dye for R134a- bottle 240ml | 4 |  |  |
| 7. | Oil Vacuum Pump compatible for offered AC service unit - bottle of 600ml | 15 |  |  |
| 8. | Filter Dryer | 2 |  |  |
| TOTAL: |  |  |  |  |

NOTES:

- Transportation, offload of the equipment and reserve materials to the delivery place must be included in the price.

- The offered prices are net of any direct taxes, customs duties and indirect taxes and VAT.

- DAP and supplier to cover the costs of custom clearance agency if needed

Payment terms 30 days accepted: ☐ Yes

- List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

[Full legal name and address of subcontractors]

- _________________________________________________

- _________________________________________________

- _________________________________________________

- List of legal entities associated to the Bidder

Bidder must also identify and disclose any information regarding all associated legal entity/s, if any, by providing full legal name and address of the associated entity/s.

[Full legal name and address of the associated legal entity]

- _________________________________________________

- _________________________________________________

- _________________________________________________

Should there be no related entities, the Bidder must sign the following statement to that effect:

[Delete or cross out if not applicable]:

I, the undersigned, certify that there are no legal entities associated to the [insert full name of Bidder]

____________________________________________________. [

- Authorization to sign quotation

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder]

____________________________________________________ to sign this quotation and bind

____________________________________________________[insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]______________________________________

Name of Bidder: [insert name of Bidder]___________________________________________

Bidders are required to complete the Comparative Data Tables included in Section III: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

| Item No | UNOPS minimum technical requirements | Quantity | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete Insert details of goods offered, including specifications and brand/model offered if applicable |
| --- | --- | --- | --- | --- |
| 1. | Air conditioner service unit for R134a Air conditioning service unit for R134a Automated recovery and recycling management Manual or automatic operation Multi-pass recycling Programmable vacuum phase Automatic refrigerant charging Integrated and guided test of A/C system pressure Automatic oil discharge Programmable maintenance Integrated flushing programme Printer - Refrigerant: R134a - Vacuum pump: Single stage vacuum pump 170-180 L/min or Dual stage vacuum pump 170-180L/min - Refrigerant tank capacity: 20 Kg - Oil tank: 250 ml or 2 x 250 ml - Compressor: 1/3 HP - Manometer: Φ 80mm class 1 - Hoses management: 2.44 m / SAE-J2196 - Operating temperature: 10C-50C - Power supply: 230V - Standard CE approved with the sign CE Warranty 2 years Equal or similar to the model ROBINAIR 690PRO ________________________ APARAT ZA PUNJENJE KLIMA ZA R134a Automatizovan oporavak i upravljanje reciklažom Manuelna ili automatizovana upotreba Recikliranje u više faza Omogućeno programiranje vakuum faze Automatsko punjenje rashladne tečnosti Integrisano, usmereno testiranje pritiska u sistemu Automatsko ispuštanje ulja Omogućeno programiranje održavanja Integrisani program za ispiranje Stampac Radshladna tecnost : R134a Vakum pumpa: Jednofazna vakum pumpa 170 -180 L/min ili Dvostepena vakum pumpa 170 -180 L/min Kapacitet rezervoara freona: 20 kg Rezervoar ulja: 250ml ili 2 x 250 ml Kompresor: 1/3 HP Manometar 80mm, klasa 1 Servisna creva : 2.44 m/ SAE – J2196 Radna temperature 10C do 50C Snadbevanje energijom 230 V Proizvedeno po standardu CE sa oznakom CE Garancija 2 godine Isto ili slicno modelu ROBINAIR 690 PRO | 2 | ☐ Yes ☐ No |  |
| 2. | UV lamp for leak detection UV lamp with the batteries inside , length approx. 120 mm _________________________ UV lampa ze detekciju curenja gasa UV lampa sa baterijama unutra, .duzine oko 120 mm Equal or similar to the picture below/Jednako ili slicno slici ispod: | 2 | ☐ Yes ☐ No |  |
| 3. | UV glasses for leak detection UV glasses for leak detection ________________________ UV Naocare za detekciju UV curenja Equal or similar to the picture below/Jednako ili slicno slici ispod: | 2 | ☐ Yes ☐ No |  |
| 4. | Refrigerant R134a Refrigerant R134a must be packed in disposable cylinder 13.6 kg ________________________ Rashladno sredstvo R134a Rashladno sredstvo R134a mora biti pakovano u nepovratnim bocama tezine 13.6 kg | 12 | ☐ Yes ☐ No |  |
| 5. | Compressor Polyalkylene Glycol Oil -PAG for A/C service unit (ISO 100)- bottle of 240-250 ml Compressor Polyalkylene Glycol Oil -PAG for A/C service unit (ISO 100) or compatible to offered A/C service unit Oil must be packaged in bottle 240-250 ml ________________________ Ulje za kompresor Polyalkylene Glucol ulje-PAG za uredjaje za servisiranje klima(ISO 100) –boce od 240-250ml Ulje za kompresor Polyalkylene Glucol ulje-PAG za uredjaje za servisiranje klima(ISO 100) ili kompatibilno ponudjenom uredjaju za servisiranje klima Ulje mora biti pakovano u bocama od 240-250ml | 36 | ☐ Yes ☐ No |  |
| 6. | Universal UV dye for R134a- bottle of 240ml Universal UV dye must be compatible for refrigerant R134a UV dye must be packaged in bottle of 240 ml _________________________ Univerzalna UV boja za gas R134a u bocama od 240ml Univerzalna UV boja mora biti kompatibilna sa gasom R134a UV boja mora biti pakovana u bocama od 240 ml | 4 | ☐ Yes ☐ No |  |
| 7. | Oil Vacuum Pump–bottle of 600ml Oil Vacuum Pump must be compatible for offered AC service unit Oil must be packaged in bottle 600 ml _________________________ Ulje za vakum pumpu- boca od 600 ml Ulje za vakum pumpu mora biti kompatibilno ponudjenom uredjaju za servisiranje klima Ulje mora bitti pakovano u bocamo od 600 ml | 15 | ☐ Yes ☐ No |  |
| 8. | Filter Dryer Filter Dryer must be compatible with offered AC service unit _________________________ Filter sušač Filter sušač mora biti kompatibilan ponudjenom uredjaju za servisiranje klima | 2 | ☐ Yes ☐ No |  |

Delivery requirements –– Comparative Data Table

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete Insert details |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods as soon as possible but latest within 30 (thirty) calendar days after Contract signature. | ☐ Yes ☐ No |  |
| Delivery place and Incoterms rules | DAP (Delivery at Place), offload included, as per Incoterms 2010, net of any direct taxes, customs duties and indirect taxes and VAT. One day training must be included in price | ☐ Yes ☐ No |  |
| Consignee details | The goods should be delivered and offloaded on one address in Belgrade. | ☐ Yes ☐ No |  |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 30%, without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No |  |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section III: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form D: Previous experience form

RFQ reference no: [insert RFQ reference No.]_________________________________

Name of Bidder: [insert name of Bidder]______________________________________

| Description of services/goods | Country | Total amount of Contract | Contract Identification and Title and Contact details of Client: (Name, Address, telephone, email, fax) | Year project was undertaken |
| --- | --- | --- | --- | --- |

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________75 00ax: +45 45 33 75 01